Signal Processing Results — Python-Based Output

Author：GONG SHENG

The complete image across the entire time axis is shown below (time axis from t=0 to t=2097.15s, step size of 0.002s, sampling frequency of 500Hz)：

Figure 1 Complete image of the original signal

Let's capture a small segment of its signal:

Figure 2 The waveform appears clearer when enlarged.

The signal passes through a Butterworth filter:

Figure 3 Original signal and filtered SCG signal

Using the find peaks function for peak detection yields the following image:

Figure 4 Filtered SCG Signal with Detected Peaks

Eliminate baseline drift:

Figure 5 After baseline drift correction

Comparison sheet:

Sheet: peak time points and corresponding peak SCG values

| peak time points（s）： | peak SCG values |
| --- | --- |
| 195.55 | 9.058 |
| 195.716 | 8.815 |
| 195.86 | 2.869 |
| 196.006 | 1.900 |
| 196.144 | 0.837 |
| 196.334 | 3.574 |
| 196.498 | 7.088 |
| 196.662 | 1.716 |
| 196.792 | 3.104 |
| 196.93 | 2.482 |
| 197.028 | 1.552 |
| 197.146 | 5.372 |
| 197.304 | 8.570 |
| 197.578 | 0.929 |
| 197.946 | 3.151 |
| 198.118 | 9.325 |